DETAILED SYLLABUS

FOR

DISTANCE EDUCATION

CERTIFICIATE

Certificate in Refrigeration & Air Conditioning Repairs

(CRAR)

(Yearly Scheme)

COURSE TITLE 		: CERTIFICATE IN REFRIGERATION & AIR           CONDITIONING REPAIRS

DURATION 			: 2 YEARS

MODE			: YEARLY

TOTAL MARKS 		: 800

| FIRST SEMESTER |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Course Title | Paper Code | Marks |  |  |  |  |
|  |  | Theory |  | Practical |  | Total |
|  |  | Internal | External | Internal | External |  |
| INTRODUCTION TO TRADE THEORY | CRAR/Y/0110 | 40 | 60 | 00 | 00 | 100 |
| WORKSHOP ALCULATION& SECIENCE | CRAR/Y/0120 | 40 | 60 | 00 | 00 | 100 |
| ASICS OBF ENGENEERING DRAWING | CRAR/S/0130 | 40 | 60 | 00 | 00 | 100 |
| PRACTICAL | CRAR/S/0140 | 00 | 00 | 40 | 60 | 100 |
| SECOND SEMESTER |  |  |  |  |  |  |
| Course Title | Paper Code | Marks |  |  |  |  |
|  |  | Theory |  | Practical |  | Total |
|  |  | Internal | External | Internal | External |  |
| ADVANCE TRADE THEORY | CRAR/Y/0210 | 40 | 60 | 00 | 00 | 100 |
| WORKSHOP ALCULATION& SECIENCE | CRAR/Y/0220 | 40 | 60 | 00 | 00 | 100 |
| ADVANCE ENGENEERING DRAWING | CRAR/Y/0230 | 40 | 60 | 00 | 00 | 100 |
| PRACTICAL | CRAR/Y/0240 | 00 | 00 | 40 | 60 | 100 |

Note:

Theory Paper: 40% Continuous Internal Assessment and 60 % University examinations.

Practical Paper: 40% Continuous Internal Assessment and 60 % University examinations

FIRST YEAR

INTRODUCTION TO TRADE THEORY 				CRAR/Y/0110

THEORY

(1) Importance of the trade industrial and commercial field. Theoretical subjects to be taught. Terminal Performance Objectives.

(2) Method of marking, marking media. Simple marking measuring tools &their use. Chisel hacksaw frame, blade type specification, & their use.

(3) Files and dills Types. Specifications, Uses, care and safety aspects, Drilling speed, feed & coolants.

(4) Specification, use and safety of taps &dies Reamers types. Elents of screw threads, thread forms.

(5) Important precision measuring, marking and checking tools type and their specification, use, care and safety.

(6) Limit, fit, and tolerance I. S. I. Specification. Scraper-type, specification and use-lap materianand plate type, specification & use.

(7) Sheet metal tools and equipment type specification, care and safety. Types of sheet metal joints and their use. River & riveting -their types and use .Calculation of Blank sizes from component drawing.

(8) Introduction to basic principles of commonly used welding processesr welding, oxyfuel gas welding /cutting. Brazing & soldering.

(9) Welding tools and equipment- type specification and use. Safety method in welding. Method of gas welding, gas used and flames adjustment. Differences between soldering and brazing interms of temperature, filler materials, joint strength and applications Use of Oxyacetylene, Oxlip and air LPG for brazing /soldering.

(10) Method of electric welding electrode -type and application- object of flux coating. Welding symbols and I.S.I.code for gas and are welding.

(11) Electrician hand tools type, specification, use care and safety. Common terms used in the trade.Conductrors and insulators. Selected letters symbols and sign as per I...S. I. Rules for medium voltage.

(12) Electrical work, power and energy their calculation in simple electrical circuit. Type use &construction of common electrical measuring instruments.

(13) Simple electrical circuit, essential requirement of electrical circuit, series and parallel circuit. Different types of resistances. Earthing and fuses.

(14) Types grades and sizes of insulated wire and cables-their selection use. List of material for wiring.

(15) A.C. motor starters and transformer. Their working principal specification & use.Care&safety.Run/StartCapaitors and PTCs. Motor protection devices. Temperature rise of winding.

(16) A.C. motor, starters and transformer. Their working principles specification and use. Care safety.

(17) Introduction to Electronics. Principles and Application Basic principles of Diodes, Semiconductor, Amplifiers, Transistors, SCR’s.

(18) Rectification zener diode as voltage regulator transistors parameters CB, CE, CC, configuration, amplification.

(19) Photo diodes-photo transistor, multi -vibrator, CR&LR circuit. SCRs, UJTs, Ics .

(20) Thermostats, RTDs, Electronics Thermostats . Principles of Remote Controls and Controllers .

(21) Use and function of Contactors/Starters, Crankcase Heaers, Pressure Controls, Solenoids, Timers both Electromechanical and Solid State.

(22) Fundamentals of Refrigeration and Understanding a typical Refrigeration System, its Components, working, etc.

(23) Temperature-Pressure Relationship. The refrigeration cycle. Sensible and Latent Heats. Superheating and sub-cooling.

(24) Understanding Cu tubes in Refrigeration :soft Annealed, Hard drawn etc. &their applications Purity&cleanliness of Cu tubes used in Refrigeration . Flared, compressed & brazed joints, standard flared & other fittings available – brass and copper .

(25) Theory of Brazing. Safe handling of cylinders. Care to be taken whilst preparing joints for Brazing. Flame Chemistry &temperature. Use of right torches, tips & flame. Use of appropriate Brazing filler rods and fluxes.

(26) Working principles of Hermetic, Semi-Hermetic& open type compressors of  the Reciprocal, Rotary, Scroll Rotary Wobble plate compressors used in Auto AC Understanding the working of the Lubrication system, Shaft seals in open Compressors and Capacity control of MulticylimderCompressors .

(27) Basic Evaporation process on the P-H chart . Types of Evaporators like

-dry Expansion Type

-Shell Tube, DX type

-  Flooded type

-  Role of Accumulator

-  Importance of Superheat

-  Distribution of Circuits .

(28) Role and operation of condensers, Condenser capacity, types of Condensers like static condensers, Forced Draught, Coin type, Shell & tube type, Desuperheating condensing & Subcooling in condensers .

(29) Metering Devices

- Role

- Types of Metering devices,fixed and modulating  orifice controls

- Capillaries

- Fixed Orifices

- Float valves-Low side, High side

- Constant pressure Exp-valves

- Thermostatic Expansion Valves

- Electronic Expansion Valves

(30) Liquid Distributors & their role . Refrigeration cycle accessories & their role-

• Filter drivers

• Sigft glass

Suction Line Accumulator, Crankcase heaters, hot gas mufflers, Oil             separators, Receivers, Heat Exchangers

(31) System Controls :Basic Controls. Operated by Temperature (Thermostats), Humidity (Humidistats), Pressure (Pressure stats), Time (Time Switch).

(32) Operating Controls :-  Refrigerant solenoid valves . Four way Reversing Valves. Back pressures valves. Check valves.Safety Controls :-   Electric over load protectors. Pressure Relief Valves. Oil Pressure Safety Switch.

(33) Refrigerant. Historical developments till today . Physical & chemical properties and Environmental hazards of CFCs & HCFCs . Montreal protocol & India’s CFC/HCFC phase out schedules Ozone Rules 2000 . Substiut refriganta in Iieu of CFCs, their properties & comparison With CFCs . HFCs and HCs wrt component changes. Flammability etc .

(34) Need for elimination of refrigerant emissions through : Recovery/ Recycling; Good Brazed joints ;Proper leak testing before charging refrigerant. Importance of Cleanliness and Hygiene in refrigeration system. Importance of evacuation of Moisture and Non condensable. Gases from refrigeration system and the need Rotary 2 define vacuum levels

(35) Changes in components &practices whilst retrofitting CFC appliances with HC and HFC refrigerants.

(A) HCs- Flammability issues to be addressed using selat components .

(B) HFCs- Changes in compressors, luboli,need for filter driers of XH7/XH9 . & greater risk of moisture absorption & system failures .

WORKSHOP CALCULATION & SECIENCE 				CRAR/Y/0120

1 UNITS:-Introduction--Definition--classification of units--interrelationship between Metric and British System of units

2 SIMPLIFICATION:- Introduction--fractions--decimal fractions--lowest common multiple,LCM.

3 SQUARE ROOT :- Square and   square root--symbol of root--method of finding out thesqure root of a number--      factorization method--division method.

4  RATIO AND PROPORTION :-   Introduction--ratio--proportion-

5  PERCENTAGE :-  Introduction--percentage method

6 ALGEBRA :- Introduction-careful consideration of subject items--addition and subtraction-- multiplication and division--algebraic formula-factorization--equations

7  MENSURATION :- Introduction-rectangle--square--parallelogram—rhombus-- trapezium--triangles--circle

8 TRIGONOMETRY :- definition--formula--measurement of angles—

9  ELECTRICITY :-

Introduction--uses of electricity--molecule--atom--atomic structure--electric current-AC. -DC.--ampere--EMF.--resistance--conductor--insulator--circuit

10  ELECTRICAL POWER AND ENERGY :-    electric power--electric energy--

11  EFFECT OF ELECTRIC CURRENT :-    Introduction---resistance --specific resistance--heating effect of electric current

12  ELECTRICAL MACHINES :-     Introduction---DC.generator--DC. Moderation of transformer

BASIC OF ENGINEERING DRAWING 					CRAR/Y/0130

1  NTRODUCTION, DRAWING INSTRUMENTS AND MATERIALS :-

Introduction—Drawing—drawing board—set-square—instrument box—pencil—

Rubber—drawing sheet--

2  CONVENTIONS FOR LINES, MATERIALS AND BREAKS :-

Introduction—convention for lines—grouping of lines—conventional breaks

3  FREE HAND LETTERING AND SKETCHING :-

Introduction—lettering—type of lettering—free hand sketching--

4  GEOMETRICAL DRAWING :-

Introduction—points—line—curved line—angle—circle—square—rectangle

5  HAND TOOLS :-

Hammers—files—pipe wrench—plier—spanner—hacksaws—drilling machines—

Screw driver—tester—chisel—try-square—vice—etc.

6  ELECTRICAL CIRCUITS AND DISTRIBUTION :-

Introduction—electrical circuits

7  RECTIFIERS AND INSULATORS :-

Introduction—full wave rect.—brize wave rectifier—pin type insu.—suspension type

Insulator--

8 ELECTRICAL WINDING :-

Introduction—AC winding—DC-winding--

9 ELECTRICAL EARTHING :-

Introduction—plate earthing—pipe earthing--

10 ELECTRICAL AND ELECTRONICS SYMBOLS :-

Positive—negative—DC—AC—fuse—bell—fan—lamp etc.—

PRACTICAL  						 CODE CRAR/Y/0140

1  Importance of Trade and safety precautions

2  Basic fitting

3  Sheet metal

4  Basic welding

5   Basic electricity

6  Basic automobile

7  Refrigeration Tools

8  Refrigeration system

9  Compressor

10  Condenser

11  Refrigerant

12  Refrigerant control and safety Devices

SECOND YEAR

ADVANCE TRADE THEORY 						 CRAR/Y/0210

1  Study of the function of the Refrigerator & components linked door, gaskets, PUF Insulation, chiller tray,crisper etc, Electrical componets & Wiring drawings, Ref sealsed system, Roll bond evaporators, Suction heat exchanger, open and concealed clean back condensers.

2  Study construction of Frost Free(2or3door)Refrigerator parts particularly, the forced draft cooling.AirDuct circuit, the temperature control in Freezer& Fefrigerator,the Evaporator, the automatic defrost system, the hot gas lines to prevent condensation on cabinet. The Electrical system.

3 Theory behind the causes of the problem& the analytical approach to trouble shooting need for right instruments &tools to trouble shoot.

4 Study of construction& functioning of WRAC. Role of each component . Principle of working Evaporative cooling of condenser.

5  Study of Split Acs/Room Unit & Condensing unit. Principle of pipe sizing & study of service valves for charging at site . Principles of working of Infra red remote control &understanding Electrical/

6  Electronic circuitry. Combensate removal from room units & need for traps.

7  Importance of maintaining filter cleanliness. The problems in installation with Evaporator at higher/Lower levels &Versa. Alfo use of right instruments & tools to trouble shoot .

8 Study of refrigerant systems in auto Ac and Air flow & Direction control in evaporator. How performance varies with compressor/ Engine speed . Difference in R-12 &R-134 a system Temp. Control in the cab. Electrical/Electronic Wiring diagram.

9  Theory behind the problems listed under trouble shooting and analytical approach to trouble shooting

10 Description, Construction, Function of different types of blower and fans, motors etc. Used for Evaporators and condensers.

11  Role of start & Run capacitors, Relays and PTCs.

12   Explanation of

(A)  Water storing, Distribution &Drainage.

(B)  Refrigeration system using R-22 & components in lieu of R-12.

(C)  Electrical & control system

(D) Insulation.

(E)  Retrofitting with HFC 134 a or HCs .

13Chest type bottle coolers , Deep Freezers and Visi coolers, Description, Construction & Function. Substituting R-12 with R-134 a or Hydrocarbon

14 Ice Candy Plant & Ice Cream strong . Their types, function & Applications . Retrofitting

15   Performance of reciprocating compressor metric elliciency, Factor influencing volumetric efficiency .

16  Commercial type reciprocating compressor-Their type Construction and application .

17  Compressor lubrication. Types of lubrication. Splash ana forced feed . Compressor oil function and characteristic.

18   Compressor capacity control . Different method and application .

19  Multistage  compressor-Their function, Construction and application .

20   Centrifugal compressor . Construction and  Application . Refrigerants used. Alternatives to R-11,like R-123, to R-12, like R-134. Screw compressor chillers. Type’s construction .

21 Condenser-its type and capacity. Water clod condenser-Their type, Construction and Application .

22   Evaporative condenser- their function, Construction and application .

23  Cooling power – its Principle, type, capacity, construction & Application. Advantage & Disadvantage of different types of cooling towers . Selection of site, Efficiency . Wetbuld tmp. And C.T.approach.

24    Water conditioning . Scale and deposit control, Corrosion and its control .Slime and Algae-water conditioning systems .

25   Principles of working of a pump . Causes of commonly faced problems like poor pumping, Air leaks, high power consumption.

26   Introduction to standard fittings, Valves etc. Used in chilled water, condenser water & drain lines .

27   Plate & tube forced air Dxevaporatros . types of Defrost system & Condensate disposal .

28    Water / Brinechillers. Types of Brinesused as secondary refrigerants.

29    Suc – liquid Heat Exchangers, Their function, construction, application & advantage .

30    Study of control & electrician wiring diagrams used in cold storage/commercial refrigeration .

31    Food preservation spoilage agents – control of spoilage agents, preservation by refrigeration .

32  Cold storage – type construction capacity and specification .

33 Method of installing compressor vibration eliminator and shock absorber their type and   application

34  Study of layout and electric wiring of the storage plant .

35  Method of pressure testing, leak detection and evacuating the systems .

36    Method of charging gas to the system and testing efficiency .

37   Cold storage plant operation . Its common trouble and remedies .

38  Fundamentals of Central Air conditioning – Comfort Air conditioning conditions.   Psychometrics. Dry point temperature. Introduction to psychometric charts.

WORKSHOP CALCULATION & SCIENCE   				 CRAR/Y/0220

1  ALGEBRA :-

Introduction-careful consideration of subject items--addition and subtraction--multiplication and division--algebraic formulae-factorization--equations

2 MENSURATION :-

Introduction-rectangle--square--parallelogram—rhombus--trapezium—triangles circle

3  TRIGONOMETRY :-

definition--formula--measurement of angles—

4 ELECTRICITY :-

Introduction--uses of electricity--molecule--atom--atomic structure--electric current-AC.   - DC.--ampere--EMF.--resistance--conductor--insulator--circuit

5 ELECTRICAL POWER AND ENERGY :-

electric power--electric energy--

6 EFFECT OF ELECTRIC CURRENT :-

Introduction---resistance --specific resistance—heating effect of electric current

7  ELECTRICAL MACHINES :-

Introduction---DC.generator--DC. moderation of transformer

8 UNITS:-

Introduction--Definition--classification of units--interrelationship between Metric and British System of units:-

9 SIMPLIFICATION

Introduction--fractions--decimal fractions--lowest common multiple, LCM.

10 SQUARE ROOT :-

Square and   square root--symbol of root--method of finding out the squire root of a number--      factorization method--division method.

11 RATIO AND PROPORTION :-

Introduction--ratio--proportion-

12 PERCENTANCE :-

Introduction--percentage method

ADVANCED ENGENEERING DRAWING   				 CRAR/Y/0230

1  INTRODUCTION, DRAWING INSTRUMENTS AND MATERIALS :-

Introduction—Drawing—drawing board—set-square—instrument box—pencil—

rubber—drawing sheet--

2 CONVENTIONS FOR LINES, MATERIALS AND BREAKS :-

Introduction—convention for lines—grouping of lines—conventional breaks

3 FREE HAND LETTERING AND SKETCHING :-

Introduction—lettering—type of lettering—free hand sketching--

4 GEOMETRICAL DRAWING :-

Introduction—points—line—curved line—angle—circle—square—rectangle

5  HAND TOOLS :-

Hammers—files—pipe wrench—plier—spanner—hacksaws—drilling machines—

screw driver—tester—chisel—try-square—vice—etc.

6  ELELECTRICAL CIRCUITS AND DISTRIBUTION :-

Introduction—electrical circuits

7  RECTIFIERS AND INSULATORS :-

Introduction—full wave rect.—brize wave rectifier—pin type insu.—suspension type

insulator--

8  ELECTRICAL WINDING :-

Introduction—AC winding—DC-winding--

9  ELECTRICAL EARTHING :-

Introduction—plate earthing—pipe earthing--

10 ELECTRICAL AND ELECTRONICS SYMBOLS :-

Positive—negative—DC—AC—fuse—bell—fan—lamp etc.—

PRACTICAL   							Code CRAR/Y/0240

1 Air-Conditioning

2 Automobile Air-Conditioning

3 Air Distribution and cooling load

4 Cold storage

5 Water and its treatment

6 Commercial compressor

7 Thermal insulation

8 Oil lubrication

9 Today refrigerator